## Sheet1
BAY 1 SO# 7607 |  |  |  | BAY 2 EOG (S) SO# 7626 |  |  |  | BAY 3 |  |  |  | BAY 5 |  |  |  | EOG S BAY6 SO # 7602
3516 ENG S/N: 4EK03145 |  |  |  | UNIT# 48052 ENG S/N: G6X02149 -3306 N/A |  |  |  | UNIT# FRAME ENG S/N: |  |  |  | UNIT# ENG S/N: |  |  |  | UNIT# 12464 ENG S/N: G6X05198
S/N: |  |  |  | FRAME S/N: 300014119 -H302 | [11 empty] | COOLER REPAIR
| ARRIVED:4/5/16 |  | SCH DEPARTURE: 4/14/16 |  | ARRIVED:4/5/16 |  | SCH DEPARTURE: |  | ARRIVED: |  | SCH.DEPARTURE: |  | ARRIVED: |  | SCH DEPARTURE: |  | ARRIVED: 3/24/16 |  | SCH DEPARTURE:
X | ENGINE OVERHAUL |  | PANEL & ALL DEVICES |  | ENGINE OVERHAUL |  | DAY TANK |  | ENGINE OVERHAUL |  | DAY TANK |  | ENGINE OVERHAUL |  | COOLER REPAIR |  | ENGINE OVERHAUL |  | COOLER FAN GUARD NA
| FRAME OVERHAUL |  | ROD COOLER | X | FRAME OVERHAUL | X | COOLER | X | FRAME |  | COOLER |  | FRAME OVERHAUL |  | DAYTANK AND STAND TA |  | FRAME OVERHAUL |  | DAYTANK & STAND NA
| FAN BEARINGS |  | SKID |  | HEAD UPDATE |  | SKID |  | HEAD UPDATE |  | SKID |  | RADIATOR |  | SKID |  | HEAD UPDATE |  | SKID
| 24 VOLT SYSTEM | x | FINAL TEST RUN |  | ROD UPDATE | x | FINAL TEST RUN |  | ROD UPDATE | X | FINAL TEST RUN |  | 12V AND 2 BATTEIRES |  | FINAL TEST RUN |  | ROD UPDATE | X | FINAL TEST RUN
| LOUVERS | x | PREP AND PAINT UNIT |  | LOUVERS |  | PREP AND PAINT UNIT |  | LOUVERS & VENTS | X | PREP AND PAINT UNIT |  | LOUVER VENT KIT |  | PREP AND PAINT UNIT |  | LOUVER VENT KIT |  | PREP AND PAINT UNIT
| EXHAUST | X | FINAL QC CHECK- ENGINE TAG |  | EXHAUST | X | FINAL QC CHECK- ENGINE TAG |  | EXHAUST | X | FINAL QC CHECK- ENGINE TAG |  | FAN HUB |  | FINAL QC CHECK- ENGINE TAG |  |  | X | FINAL QC CHECK- ENGINE TAG
SO# |  |  |  | SO# |  |  |  | SO# |  |  |  | SO# |  |  |  | SO#
3306TA UNIT# S/N: |  |  |  | UNIT# ENG S/N:G6X |  |  |  | UNIT# ENG S/N:G6X |  |  |  | UNIT#ENG S/N |  |  |  | UNIT# ENG S/N:
[12 empty] | JUAN PENA |  |  |  | JUAN PENA
| ARRIVED: |  | SCH DEPARTURE: |  | ARRIVED: |  | SCH DEPARTURE: |  | ARRIVED: |  | SCH DEPARTURE: |  | ARRIVED: |  | SCH DEPARTURE: |  | ARRIVED: |  | SCH DEPARTURE:
X | ENGINE OVERHAUL |  | DAY TANK | X | ENGINE OVERHAUL |  | DAY TANK | X | ENGINE OVERHAUL |  | DAY TANK | X | ENGINE OVERHAUL |  | DAY TANK | X | ENGINE OVERHAUL |  | PANEL
| FRAME OVERHAUL |  | COOLER |  | FRAME OVERHAUL |  | COOLER |  | FRAME OVERHAUL |  | COOLER |  | FRAME OVERHAUL |  | COOLER |  | FRAME OVERHAUL |  | ROD COOLER
| EICS |  | SKID |  | EICS |  | SKID |  | EICS |  | SKID |  | EICS |  | SKID |  | EICS |  | SKID
| 12 or 24 VOLT SYSTEM | X | FINAL TEST RUN |  | 12 or 24 VOLT SYSTEM | X | FINAL TEST RUN |  | 12 or 24 VOLT SYSTEM | X | FINAL TEST RUN |  | 12 or 24 VOLT SYSTEM | X | FINAL TEST RUN |  | 12 or 24 VOLT SYSTEM | X | FINAL TEST RUN
| LOUVERS | X | PREP AND PAINT UNIT |  | LOUVERS | X | PREP AND PAINT UNIT |  | LOUVERS | X | PREP AND PAINT UNIT |  | LOUVERS | X | PREP AND PAINT UNIT |  | LOUVERS | X | PREP AND PAINT UNIT
|  | X | FINAL QC CHECK- ENGINE TAG |  |  | X | FINAL QC CHECK- ENGINE TAG |  |  | X | FINAL QC CHECK- ENGINE TAG |  |  | X | FINAL QC CHECK- ENGINE TAG |  |  | X | FINAL QC CHECK- ENGINE TAG
SO# |  |  |  | SO# |  |  |  | SO# |  |  |  | SO# |  |  |  | SO#
UNIT# ENG S/N:
| ARRIVED: |  | SCH. DEPARTURE: |  | ARRIVED: |  | SCH DEPARTURE: |  | ARRIVED: |  | SCH DEPARTURE: |  | ARRIVED: |  | SCH DEPARTURE: |  | ARRIVED: |  | SCH DEPARTURE:
| ENGINE OVERHAUL |  | DAY TANK |  | ENGINE OVERHAUL |  | DAY TANK | X | ENGINE OVERHAUL |  | DAY TANK | X | ENGINE OVERHAUL | X | END DEVICES AND WIRING |  | ENGINE OVERHAUL |  | DAY TANK
| FRAME OVERHAUL |  | COOLER |  | FRAME OVERHAUL |  | COOLER | X | FRAME OVERHAUL |  | RADIATOR CLEAN | X | FRAME OVERHAUL | X | COOLER FLUSH |  | FRAME OVERHAUL |  | COOLER
| HEAD UPDATE |  | SKID |  | EICS |  | SKID |  | EICS |  | SKID | X | EICS | X | SKID |  | EICS |  | SKID
X | ROD UPDATE | X | FINAL TEST RUN | X | ROD UPDATE | X | FINAL TEST RUN |  | 12 or 24 VOLT SYSTEM | X | FINAL TEST RUN | X | 24 VOLT SYSTEM | X | FINAL TEST RUN |  | 12 or 24 VOLT SYSTEM |  | FINAL TEST RUN
| LOUVERS |  | PREP AND PAINT UNIT |  | LOUVERS |  | PREP AND PAINT UNIT |  | LOUVERS | X | PREP AND PAINT UNIT | X | EXHAUST | X | PREP AND PAINT UNIT |  | LOUVERS |  | PREP AND PAINT UNIT
|  | X | FINAL QC CHECK- ENGINE TAG |  |  | X | FINAL QC CHECK- ENGINE TAG |  |  | X | FINAL QC CHECK- ENGINE TAG | X | PANEL REPLACE | X | FINAL QC CHECK- ENGINE TAG |  |  |  | FINAL QC CHECK- ENGINE TAG
EOG(M) SO# 7558 |  |  |  | SO# |  |  |  | SO# |  |  |  | SO# |  |  |  | SO#
3516 - S/N: JEF02597 | [7 empty] | UNIT # ENG S/N: |  |  |  | UNIT# ENG S/N: |  |  |  | UNIT# ENG S/N
JGT/4 FRAME - S/N" F 45737 | [7 empty] | LEAD MECHANIC: |  |  |  | LEAD MECHANIC: |  |  |  | LEAD MECHANIC:
| ARRIVED: 3/4/2016 |  | SCH DEPARTURE: |  | ARRIVED: |  | SCH DEPARTURE: |  | ARRIVED: |  | SCH DEPARTURE: |  | ARRIVED:10/24 |  | SCH DEPARTURE: |  | ARRIVED: |  | SCH DEPARTURE:
x | ENGINE SWING |  | DAY TANK | X | ENGINE OVERHAUL |  | DAY TANK |  | ENGINE OVERHAUL |  | DAY TANK |  | ENGINE OVERHAUL |  | DAY TANK |  | ENGINE OVERHAUL |  | DAY TANK
X | FRAME OVERHAUL |  | COOLER |  | FRAME OVERHAUL |  | COOLER |  | FRAME OVERHAUL |  | COOLER |  | FRAME OVERHAUL |  | COOLER |  | FRAME OVERHAUL |  | COOLER
X | RE WIRE |  | SKID |  | EICS |  | SKID |  | EICS |  | SKID |  | EICS |  | SKID |  | EICS |  | SKID
X | BOTTLES/ SCRUBBER | X | FINAL TEST RUN |  | 12 or 24 VOLT SYSTEM |  | FINAL TEST RUN |  | 12 or 24 VOLT SYSTEM |  | FINAL TEST RUN |  | 12 or 24 VOLT SYSTEM |  | FINAL TEST RUN |  | 12 or 24 VOLT SYSTEM |  | FINAL TEST RUN
X | RUN TUBINHG | X | PREP AND PAINT UNIT |  | LOUVERS |  | PREP AND PAINT UNIT |  | LOUVERS |  | PREP AND PAINT UNIT |  | LOUVERS |  | PREP AND PAINT UNIT |  | LOUVERS |  | PREP AND PAINT UNIT
[7 empty] | FINAL QC CHECK- ENGINE TAG |  |  |  | FINAL QC CHECK- ENGINE TAG |  |  |  | FINAL QC CHECK- ENGINE TAG |  |  |  | FINAL QC CHECK- ENGINE TAG